## Electricity
Type | Location | Jul-18 | Aug-18 | Sep-18 | Oct-18 | Nov-18 | Dec-18 | Jan-19 | Feb-19 | Mar-19 | Apr-19 | May-19 | Jun-19 | 2019 SUM | Jul-19 | Aug-19 | Sep-19 | Oct-19 | Nov-19 | Dec-19 | Jan-20 | Feb-20 | Mar-20 | Apr-20 | May-20 | Jun-20 | 2020 SUM | Jul-20 | Aug-20 | Sep-20 | Oct-20 | Nov-20 | Dec-20 | Jan-21 | Feb-21 | Mar-21 | Apr-21 | May-21 | Jun-21 | 2021 SUM | Jul-21 | Aug-21 | Sep-21 | Oct-21 | Nov-21 | Dec-21 | Jan-22 | Feb-22 | Mar-22 | Apr-22 | May-22 | Jun-22 | 2022 SUM | 22-Jul | 22-Aug | 22-Sep | 22-Oct | 22-Nov | 22-Dec | 23-Jan | 23-Feb | 23-Mar | 23-Apr | 23-May | 23-Jun | 2023 SUM | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24 | Dec-24 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | 2024 SUM | 2025 SUM
Administrative | 1030 N Dartmouth | 2142 | 2848 | 2792 | 2929 | 2477 | 2403 | 2420 | 2570 | 2439 | 3046 | 1520 | 2122 | 29708 | 2296 | 2123 | 2301 | 2391 | 2330 | 2343 | 2289 | 2399 | 2146 | 2245 | 2166 | 2134 | 27163 | 2004 | 2031 | 2020 | 2001 | 2010 | 2071 | 2022 | 1420 | 1789 | 1359 | 1326 | 1258 | 21311 | 1267 | 1791 | 1613 | 1933 | 1804 | 1937 | 2027 | 1655 | 1749 | 1601 | 1283 | 283 | 18943 | 2970 | 1763 | 1799 | 1835 | 1580 | 1625 | 1378 | 2977 | 1682 | 582 | 1272 | 1278 | 20741 | 1442 | 1500 | 1500 | 2136 | 1374 | 1450 | 1581 | 1500 | 1027 | 2261 | 371 | 1000 | 17142
Administrative | 240 E 11th St | 1044 | 1080 | 1042 | 964 | 1026 | 1049 | 1027 | 1019 | 1034 | 1016 | 560 | 1036 | 11897 | 1055 | 1047 | 1052 | 1060 | 1054 | 1059 | 1066 | 1111 | 1032 | 748 | 813 | 890 | 11987 | 801 | 822 | 861 | 811 | 808 | 843 | 812 | 294 | 316 | 442 | 405 | 195 | 7410 | 415 | 762 | 875 | 1473 | 728 | 849 | 798 | 926 | 932 | 804 | 656 | 504 | 9722 | 815 | 994 | 2098 | 1856 | 913 | 1037 | 828 | 956 | 773 | 610 | 503 | 532 | 11915 | 1188 | 1758 | 2760 | 2760 | 2760 | 2760 | 410 | 82 | 1049 | 602 | 540 | 600 | 17269
Administrative | Balch Hall | 84800 | 83200 | 84480 | 85440 | 89920 | 86400 | 83200 | 89920 | 85440 | 80000 | 33600 | 53120 | 939520 | 61760 | 65280 | 67520 | 66880 | 67200 | 65280 | 62720 | 62080 | 63040 | 55680 | 51520 | 53120 | 742080 | 51840 | 43840 | 45760 | 40640 | 45760 | 47680 | 53340 | 60000 | 435520 | 60000 | 60000 | 34560 | 978940 | 43520 | 47680 | 56960 | 56000 | 47360 | 42880 | 35200 | 36800 | 45440 | 47680 | 46400 | 46400 | 552320 | 63040 | 63680 | 63360 | 65280 | 48320 | 45760 | 64640 | 9600 | 43200 | 45760 | 35573 | 23825 | 572038 | 39341 | 57156 | 22124 | 20072 | 16907 | 14896 | 13187 | 14405 | 14645 | 14500 | 17700 | 14377 | 259310
Academic | Baxter Hall (752-01) | 3969 | 4386 | 4257 | 4087 | 4237 | 4053 | 4158 | 4266 | 4356 | 4239 | 2182 | 4585 | 48775 | 4554 | 4783 | 4679 | 4595 | 4513 | 4526 | 4532 | 4569 | 4525 | 4193 | 4255 | 4223 | 53947 | 4144 | 4188 | 4200 | 4014 | 3961 | 4007 | 3896 | 6483 | 4519 | 11258 | 10960 | 9259 | 70889 | 10824 | 9312 | 9536 | 5124 | 2779 | 3163 | 4050 | 3202 | 3742 | 5616 | 3724 | 4295 | 65367 | 8331 | 8515 | 9654 | 7396 | 3263 | 3766 | 3032 | 3342 | 3389 | 3257 | 3593 | 3794 | 61332 | 8383 | 10221 | 7180 | 4773 | 3777 | 4395 | 5287 | 4267 | 3905 | 4274 | 5345 | 10948 | 72755
Academic | Baxter Hall (752-02) | 3094 | 3192 | 3187 | 3007 | 3122 | 3251 | 3474 | 3644 | 3633 | 3475 | 1596 | 3348 | 38023 | 3934 | 3765 | 3617 | 3484 | 3504 | 3524 | 3524 | 3309 | 3391 | 3149 | 3197 | 3200 | 41598 | 3125 | 3140 | 3150 | 3244 | 3418 | 3318 | 2909 | 615 | 491 | 763 | 559 | 584 | 25316 | 1209 | 1596 | 2143 | 1571 | 1096 | 1344 | 1784 | 733 | 810 | 740 | 720 | 0 | 13746 | 4953 | 2126 | [10 empty] | 7079 | [12 empty] | 0
Residential | Browning and Dorsey Halls | 38782 | 36501 | 36939 | 36422 | 36511 | 33422 | 33799 | 34122 | 36557 | 35678 | 19578 | 33240 | 411551 | 32477 | 34551 | 32656 | 33277 | 33645 | 33392 | 33347 | 33434 | 34014 | 32812 | 31949 | 32100 | 397654 | 31255 | 30125 | 33701 | 30411 | 31254 | 30041 | 30277 | 33778 | 35285.5 | 12209 | 10292 | 10899 | 319527.5 | 10571 | 20295 | 38498 | 31879 | 27025 | 33678 | 17394 | 35287 | 39479 | 33229 | 26570 | 26570 | 340475 | 4394 | 30000 | 30000 | 25000 | 37820 | 44988 | 16760 | 46124 | 52772 | 44171 | 29558 | 12733 | 374320 | 25805 | 33900 | 41421 | 32939 | 30474 | 37256 | 35240 | 41360 | 38434 | 41013 | 28168 | 12107 | 398117
Residential | Clark and Toll Halls (old) | 10050 | 10198 | 10467 | 10451 | 10233 | 10327 | 10176 | 10354 | 10374 | 10721 | 5043 | 10035 | 118429 | 10048 | 8956 | 10123 | 10024 | 10065 | 10102 | 10142 | 10210 | 10022 | 10558 | 10433 | 10846 | 121529 | 10127 | 8897 | 7996 | 8429 | 8802 | 9218 | 8010 | 10000 | 2171 | 10829 | 9000 | 9000 | 102479 | 0 | 9000 | [10 empty] | 9000 | 4394 |  | 33362 | 24195 | 21866 | 31648 | 13810 | 31412 | 33998 | 27888 | 20161 | 11386 | 254120 | 6278 | 5663 | 8374 | 9443 | 8801 | 8209 | 5608 | 8163 | 7677 | 8605 | 7187 | 7000 | 91008
Residential | Clark and Toll Halls | 24511 | 27000 | 27940 | 24717 | 27848 | 28908 | 29294 | 27942 | 25923 | 27318 | 13522 | 22292 | 307215 | 24522 | 21121 | 23456 | 22199 | 22386 | 22174 | 22272 | 22129 | 22487 | 21454 | 21745 | 21685 | 267630 | 22011 | 20984 | 22712 | 21365 | 20562 | 20636 | 20144 | 20194 | 39171 | 35000 | 12910 | 15369 | 271058 | 14220 | 23035 | 49491 | 45733 | 37587 | 48052 | 46203 | 45000 | 64892 | 54208 | 42838 | 42838 | 514097 | 12243 | 47103 | 8971 | 10144 | 9011 | 9745 | 5666 | 8609 | 9029 | 9165 | 7710 | 5659 | 143055 | 19434 | 17602 | 27204 | 20554 | 19396 | 23160 | 21684 | 26418 | 24579 | 24650 | 16933 | 15000 | 256614
Academic | Denison Library | 3807 | 3572 | 3347 | 3538 | 2990 | 3190 | 3156 | 3078 | 3166 | 3311 | 1626 | 2542 | 37323 | 3281 | 3640 | 3454 | 3512 | 3575 | 3502 | 3494 | 3566 | 3593 | 3515 | 3400 | 3428 | 41960 | 3191 | 3032 | 3201 | 3139 | 3043 | 3209 | 3310 | 3819 | 5280 | 5161 | 4509 | 4503 | 45397 | 5681 | 4952 | 4765 | 4750 | 5537 | 4652 | 5814 | 5062 | 4616 | 5673 | 4750 | 4750 | 61002 | 8763 | 6330 | 6202 | 5629 | 4356 | 4762 | 6546 | 4578 | 5227 | 4284 | 2266 | 3532 | 62475 | 22549 | 16297 | 10738 | 10437 | 10303 | 12692 | 11090 | 10114 | 13707 | 12228 | 10948 | 10098 | 151201
Venue | Garrison Theatre/Performing Arts Center | 68857 | 68583 | 66482 | 66861 | 68956 | 62937 | 60559 | 61227 | 60306 | 60894 | 32182 | 63829 | 741673 | 64478 | 63998 | 53762 | 62388 | 63154 | 63198 | 64221 | 63274 | 63842 | 60987 | 61033 | 61944 | 746279 | 60123 | 56573 | 59543 | 58572 | 36053 | 43139 | 40347 | 43000 | 58704 | 30384 | 34477 | 77234 | 598149 | 41572 | 52086 | 49854 | 50114 | 40403 | 37177 | 25861 | 33763 | 38631 | 55529 | 49472 | 4575 | 479037 | 5656 | 58400 | 54450 | 53420 | 45230 | 42480 | 34090 | 34590 | 36820 | 40860 | 45340 | 41230 | 492566 | 54570 | 54140 | 51500 | 48680 | 41040 | 40310 | 37460 | 37870 | 42210 | 48010 | 46550 | 54780 | 557120
Academic | Humanities | 38452 | 53304 | 33848 | 42237 | 37062 | 34423 | 34650 | 38303 | 37290 | 33848 | 16875 | 32989 | 433281 | 33902 | 45606 | 43689 | 43142 | 42985 | 42702 | 42877 | 43014 | 43721 | 42502 | 41952 | 42031 | 508123 | 41222 | 40679 | 42106 | 40954 | 41259 | 40685 | 40201 | 15924 | 14797 | 16830 | 15068 | 18602 | 368327 | 35817 | 28725 | 48689 | 43520 | 31541 | 33024 | 29139 | 30957 | 34213 | 38478 | 34452 | 34457 | 423012 | 39403 | 37901 | 37501 | 38272 | 30266 | 29452 | 19844 | 24411 | 25471 | 25969 | 28254 | 24762 | 361506 | 34364 | 33477 | 36661 | 37775 | 35348 | 32216 | 30519 | 26256 | 26209 | 29246 | 27970 | 27358 | 377399
Residential | Jungles Winkler Hall | 21308 | 22892 | 21244 | 22042 | 21599 | 20268 | 21803 | 21173 | 22037 | 21140 | 10224 | 21191 | 246921 | 22432 | 22745 | 22547 | 22016 | 22416 | 22301 | 22399 | 23401 | 22869 | 18730 | 19765 | 18422 | 260043 | 20103 | 19556 | 20920 | 21004 | 19865 | 20014 | 21744 | 20911 | 20000 | 9925 | 8112 | 9528 | 211682 | 15735 | 15452 | 23283 | 20994 | 16698 | 15282 | 10680 | 17572 | 17503 | 22756 | 23719 | 21553 | 221227 | 25503 | 22341 | 28249 | 28916 | 18749 | 18525 | 12608 | 15167 | 15992 | 18734 | 20995 | 18415 | 244194 | 25032 | 25964 | 27671 | 25873 | 22581 | 16436 | 15295 | 40041 | 16007 | 29673 | 19957 | 18429 | 282959
Residential | Kimberly and Wilber Halls | 45361 | 49417 | 46417 | 47185 | 43842 | 40812 | 37110 | 40000 | 43109 | 42105 | 21205 | 41547 | 498110 | 35270 | 40229 | 41132 | 42132 | 41987 | 42100 | 41879 | 42632 | 41025 | 30329 | 34430 | 33747 | 466892 | 31272 | 32194 | 31844 | 30741 | 30950 | 31651 | 30255 | 20549 | 23155 | 27969 | 22276 | 25993 | 338849 | 23772 | 29788 | 45092 | 45020 | 41708 | 41125 | 34171 | 37228 | 39922 | 43360 | 38837 | 35472 | 455495 | 25850 | 41062 | 51481 | 49167 | 41227 | 44848 | 26892 | 39272 | 43798 | 40013 | 38027 | 32310 | 473947 | 41327 | 47860 | 44659 | 45602 | 41476 | 39850 | 41566 | 42623 | 42968 | 40572 | 36602 | 34096 | 499201
Dining | Malott Commons | 140620 | 145285 | 140684 | 139811 | 140411 | 115013 | 112100 | 110684 | 99061 | 98649 | 47999 | 107297 | 1397614 | 119531 | 113398 | 108941 | 112622 | 111585 | 111958 | 112104 | 111497 | 112245 | 101629 | 102498 | 101894 | 1319902 | 105038 | 111223 | 105474 | 102445 | 101369 | 92853 | 100587 | 47537 | 49049 | 79761 | 67043 | 85698 | 1048077 | 85865 | 84872 | 110554 | 113011 | 49426 | 140337 | 65304 | 82433 | 89909 | 107590 | 96918 | 96918 | 1123137 | 106758 | 45186 | 84205 | 95340 | 69910 | 67020 | 45480 | 52720 | 59010 | 63730 | 63710 | 56080 | 809149 | 69250 | 70150 | 68090 | 68500 | 63010 | 61900 | 58180 | 59060 | 59630 | 59180 | 58380 | 59850 | 755180
Administrative | McAlister Center | 13952 | 15188 | 14549 | 14983 | 14156 | 14283 | 14031 | 14523 | 14332 | 13069 | 7168 | 14332 | 164566 | 14762 | 14929 | 14420 | 14377 | 14490 | 14415 | 14395 | 14452 | 14498 | 13993 | 14145 | 14025 | 172901 | 14460 | 14119 | 14099 | 13486 | 13124 | 13014 | 13929 | 863001 | 5344 | 6150 | 5704 | 6981 | 983411 | 6900 | 6011 | 10146 | 10478 | 8793 | 8427 | 7875 | 7481 | 9364 | 12289 | 12737 | 12737 | 113238 | 18338 | 18000 | 12729 | 14598 | 9505 | 8419 | 5338 | 6769 | 7150 | 8872 | 12000 | 7186 | 128904 | 13712 | 15072 | 14520 | 12791 | 10605 | 7546 | 6962 | 6618 | 6782 | 8457 | 9170 | 8874 | 121109
Residential | Revelle | 3017 | 3062 | 3293 | 2998 | 2829 | 2930 | 2830 | 2963 | 2873 | 2918 | 1306 | 2878 | 33897 | 2929 | 2742 | 2819 | 2945 | 2877 | 2898 | 2910 | 2879 | 2891 | 2742 | 2681 | 2707 | 34020 | 2676 | 2554 | 2707 | 2494 | 2808 | 2655 | 2509 | 1665 | 1530 | 1723 | 1579 | 2550 | 27450 | 4708 | 3088 | 4076 | 3396 | 2102 | 2165 | 1623 | 1908 | 1975 | 2309 | 2306 | 1117 | 30773 | 2324 | 1769 | 2877 | 1771 | 1225 | 1292 | 340 | 1301 | 1684 | 1750 | 2001 | 689 | 19023 | 1443 | 2046 | 2222 | 2522 | 2119 | 1695 | 1849 | 2142 | 2119 | 2402 | 1412 | 1275 | 23246
Residential | Routt and Frankel Halls | 19613 | 17711 | 21641 | 20580 | 21553 | 20807 | 20753 | 20742 | 20136 | 19827 | 8239 | 19413 | 231015 | 19555 | 19568 | 19412 | 18901 | 19504 | 19130 | 19119 | 19297 | 19076 | 17683 | 18744 | 19009 | 228998 | 17955 | 17639 | 17323 | 18146 | 17298 | 17721 | 17958 | 18041 | 17000 | 10969 | 8270 | 10460 | 188780 | 11378 | 13022 | 22228 | 25097 | 22629 | 22585 | 14377 | 20310 | 21987 | 24115 | 21607 | 13802 | 233137 | 70384 | 15000 | 29914 | 26498 | 24794 | 25627 | 12347 | 23262 | 24544 | 24292 | 22181 | 15023 | 313866 | 18101 | 19886 | 25500 | 26506 | 25022 | 19499 | 18851 | 24674 | 24209 | 24189 | 18093 | 13183 | 257713
Residential | Routt and Frankel Halls | 17668 | 17850 | 18198 | 16121 | 16348 | 15260 | 15656 | 15247 | 15320 | 15433 | 7656 | 15233 | 185990 | 15379 | 14454 | 15247 | 15212 | 15249 | 15244 | 15346 | 15201 | 15216 | 14014 | 14241 | 14847 | 179650 | 14193 | 13020 | 13965 | 13195 | 14327 | 13227 | 14829 | 14825 | 14000 | 0 | 14000 | 14000 | 153581 | 11078 | 8597 | 9772 | 7984 | 7761 | 5112 | 2840 | 4223 | 4606 | 7974 | 8135 | 14590 | 92672 | 17889 | 12357 | 22781 | 21473 | 9451 | 3986 | 2947 | 3269 | 2955 | 7320 | 16170 | 12980 | 133578 | 24330 | 22953 | 17750 | 18761 | 5752 | 3400 | 1957 | 4073 | 5756 | 9629 | 11495 | 16237 | 142093
Residential | Schow Hall | 21257 | 25090 | 21594 | 24704 | 25356 | 23747 | 23581 | 25530 | 23300 | 21020 | 13399 | 24805 | 273383 | 22743 | 24896 | 23682 | 23141 | 24103 | 24901 | 23745 | 24771 | 24012 | 10867 | 12547 | 13565 | 252973 | 13927 | 10463 | 12311 | 11442 | 11056 | 11956 | 12798 | 7134 | 7708 | 13650 | 11025 | 11359 | 134829 | 10821 | 11662 | 34994 | 33886 | 26905 | 29101 | 23137 | 27323 | 29214 | 28393 | 19738 | 16806 | 291980 | 37820 | 25128 | 41909 | 37012 | 30762 | 38976 | 13160 | 33634 | 39144 | 33367 | 19754 | 18678 | 369344 | 28781 | 32936 | 33920 | 30116 | 24418 | 28564 | 24389 | 27707 | 25741 | 24433 | 26786 | 16885 | 324676
Administrative | Steele Hall (750-01) | 34584 | 35266 | 36139 | 37698 | 39582 | 37735 | 36498 | 39290 | 39491 | 39565 | 16212 | 33023 | 425083 | 35768 | 39032 | 37845 | 38143 | 38011 | 38212 | 37554 | 38291 | 38246 | 36129 | 37544 | 37850 | 452625 | 38140 | 42337 | 41841 | 37588 | 36989 | 38470 | 35214 | 29961 | 31712 | 37386 | 29598 | 35576 | 434812 | 30935 | 30730 | 33735 | 35467 | 34309 | 33469 | 28983 | 22411 | 24961 | 25695 | 24099 | 24976 | 349770 | 27448 | 23387 | 25462 | 27405 | 25738 | 44231 | 34828 | 23567 | 24842 | 25187 | 23380 | 24366 | 329841 | 25613 | 25918 | 25829 | 26594 | 25278 | 25466 | 25771 | 25300 | 25794 | 26154 | 26786 | 26132 | 310635
Administrative | Steele Hall (750-02) | 65400 | 64800 | 66600 | 67200 | 64800 | 63600 | 62400 | 60000 | 66000 | 69000 | 39600 | 67200 | 756600 | 69000 | 64800 | 64200 | 65400 | 66600 | 65400 | 64800 | 61200 | 60600 | 53400 | 55200 | 57000 | 747600 | 61800 | 57600 | 61200 | 61800 | 64800 | 66600 | 68400 | 72000 | 70000 | 70000 | 70000 | 70000 | 794200 | 70000 | 70000 | 70000 | 70000 | 70000 | 52 | 39 | 70000 | 70000 | 70000 | 70000 | 69310 | 699401 | 70949 | 71992 | 77010 | 73661 | 50490 | 27794 | 21356 | 39061 | 48767 | 50677 | 55677 | 49260 | 636694 | 84474 | 82234 | 73011 | 69790 | 56030 | 46343 | 45433 | 44496 | 46835 | 54460 | 64401 | 61953 | 729460
Athletic | Tiernan Field House | 24333 | 32580 | 32875 | 26401 | 28607 | 29209 | 24898 | 26693 | 25131 | 24952 | 12362 | 26441 | 314482 | 27933 | 26363 | 27010 | 28400 | 29640 | 28945 | 29016 | 28722 | 28042 | 27871 | 27345 | 27104 | 336391 | 27611 | 27111 | 27322 | 26413 | 25643 | 26544 | 27723 | 12162 | 13695 | 16796 | 12944 | 13926 | 257890 | 13175 | 20295 | 36624 | 38434 | 32426 | 32508 | 25017 | 33456 | 39415 | 41917 | 36222 | 26212 | 375701 | 35515 | 22585 | 39329 | 40645 | 37685 | 36377 | 20497 | 28762 | 28447 | 29053 | 29268 | 21120 | 369283 | 27558 | 29073 | 31014 | 32170 | 28113 | 23416 | 23189 | 26500 | 28569 | 32917 | 30483 | 29971 | 342973
TOTAL |  | 686621 | 723005 | 698015 | 700376 | 703465 | 654027 | 637573 | 653290 | 641308 | 631224 | 313654 | 602498 | 7645056 | 627609 | 638026 | 623564 | 636241 | 640873 | 637306 | 633751 | 631438 | 630533 | 565230 | 571603 | 575771 | 7411945 | 577018 | 562127 | 574256 | 552334 | 535159 | 539552 | 551214 | 1303313 | 851236.5 | 458564 | 410057 | 467534 | 7382364.5 | 449463 | 492751 | 662928 | 645864 | 508617 | 536919 | 382316 | 517730 | 583360 | 629956 | 565183 | 498165 | 6473252 | 593740 | 555619 | 663343 | 649513 | 522161 | 532358 | 362387 | 433383 | 508694 | 505541 | 477393 | 384838 | 6188970 | 572975 | 605806 | 573648 | 548794 | 474584 | 451459 | 425508 | 473669 | 457852 | 497455 | 465277 | 440153 | 5987180
#REF!
Note on BE2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Incorrect, too high reading Reply: Split difference between Aug and Oct
Note on AJ4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Meter reads 3179520 but this is wrong Reply: Use estimated value of 60,000
Note on B6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No longer being read
Note on AJ7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TCCS sheet reads 802171, which is not possible. I estimated by taking average of February usage from last 3 years
Note on AK7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TCCS sheet reads 822226, which is not possible. I estimated by taking average of March usage from last 3 years
Note on AQ7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Discrepancy with 703-02 sheet, which reads 10230 Reply: I decided to go with 20,295 since that is more consistent with higher energy use in the summer.
Note on AJ8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TCCS sheet says 99997899
Note on BC8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I'm putting the Toll info here...Toll and Clark seem to be seperate
Note on BP8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Clark
Note on BC11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TCCS confirmed off by factor of 10, multiplier added in
Note on BC15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: way too large: 99,106,758 Reply: Based on billing looks like they accidentally put a 99 infront
Note on BF15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TCCS confirmed off by factor of 10, multiplier added
Note on AK22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Is the meter broken? Reply: Yes, and TCCS estimated these values

## Gas
2019 - 2021
[5 empty] | FY 2019 Monthly Use (in Therms) | [12 empty] | 2020 Monthly Use | [12 empty] | FY 2021 Monthly Use | [12 empty] | FY 2022 | [12 empty] | FY 2023 | [12 empty] | FY 2024
Type | Type | Account | Building | Place and Address | 2018-07-18 | 2018-08-18 | 2018-09-18 | 2018-10-18 | 2018-11-18 | 2018-12-18 | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | Total FY 2019 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | Total FY 2020 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | Total FY 2021 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Total FY 2022 | Jul-22 | Aug-22 | Sept-22 | Oct-22 | Nov-22 | Dec-22 | Jan-23 | Feb-23 | Mar-23 | Apr-23 | May-23 | Jun-23 | Total FY 2023 | 2023-07-24 | 2023-08-23 | 2023-09-23 | 2023-10-23 | 2023-11-23 | 2023-12-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Total FY 2024
|  | Business | Malott?? | 325 9TH ST | 248.6667 | 448 | 815.6667 | 914 | 912 | 583 | 681 | 1114 | 739 | 987 | 639 | 527 | 8608.3333 | 493 | 617 | 1164 | 991 | 1196 | 583 | 761 | 1155 | 559 | 223 | 98 | 37 | 7877 | 22 | 18 | 26 | 13 | 41 | 37 | 17 | 57 | 66 | 100 | 89 | 155 | 641 | 231 | 709 | 1257 | 1268 | 1197 | 376 | 946 | 1242 | 1041 | 1049 | 426 | 760 | 10502 | 338 | 800 | 1241 | 1321 | 1184 | 433 | 988 | 1328 | 914 | 1290 | 437 | 487 | 10761 | 487 | 299 | 678 | 1288 | 1202 | 1113 | 432 | 1033 | 1278 | 958 | 1371 | 428 | 10567
|  | Business |  | 345 9TH ST | 927.3333 | 1099 | 1278 | 1154 | 2798 | 3790 | 3332 | 4588 | 2652 | 2207 | 1947 | 691 | 26463.3333 | 637 | 606 | 987 | 1572 | 3236 | 2390 | 2387 | 2431 | 2788 | 1843 | 1535 | 1526 | 21938 | 1186 | 1067 | 864 | 1962 | 3608 | 5057 | 4541 | 3706 | 3518 | 2843 | 2012 | 1315 | 31679 | 959 | 1624 | 1983 | 3279 | 3777 | 3577 | 3704 | 4433 | 2727 | 1472 | 913 | 587 | 29035 | 335 | 477 | 658 | 1937 | 3724 | 3522 | 4119 | 4484 | 3683 | 2419 | 663 | 353 | 26374 | 353 | 280 | 454 | 987 | 1728 | 2562 | 3026 | 3141 | 3430 | 2538 | 1816 | 1260 | 21575
| Residential | Business | Revelle | 950 AMHERST AVE | 22.6667 | 20.3333 | 43.3333 | 60 | 165 | 279 | 297 | 385 | 130 | 83 | 120 | 58 | 1663.3333 | 32 | 11 | 47 | 88 | 247 | 169 | 258 | 298 | 334 | 184 | 29 | 34 | 1731 | 24 | 25 | 26 | 57 | 315 | 315 | 347 | 355 | 298 | 125 | 87 | 31 | 2005 | 12 | 25 | 57 | 123 | 189 | 160 | 254 | 221 | 119 | 88 | 18 | 2 | 1268 | 1 | 18 | 44 | 68 | 176 | 311 | 323 | 305 | 200 | 115 | 19 | 1 | 1581 | 1 | 1 | 18 | 63 | 81 | 177 | 216 | 242 | 279 | 153 | 127 | 17 | 1375
|  | Business | Kimbo??? | 1000 AMHERST AV | 117 | 200 | 251 | 737 | 2135 | 3094 | 2824 | 3177 | 1476 | 1245 | 1484 | 188 | 16928 | 140 | 154 | 310 | 1597 | 2243 | 2216 | 2676 | 2422 | 1512 | 186 | 139 | 135 | 13730 | 110 | 110 | 128 | 125 | 163 | 67 | 161 | 153 | 145 | 136 | 146 | 119 | 1563 | 117 | 200 | 315 | 1403 | 1634 | 1415 | 2569 | 2612 | 1880 | 1628 | 1168 | 551 | 15492 | 283 | 247 | 552 | 916 | 2634 | 2608 | 2924 | 2950 | 2258 | 1705 | 1250 | 1155 | 19482 | 1155 | 247 | 239 | 1122 | 1933 | 2331 | 2621 | 2601 | 2723 | 2279 | 2080 | 1519 | 20850
| Residential | Business | Browning/Dorsey | 1151 AMHERST AV | 469 | 484 | 838 | 800 | 893 | 786 | 784 | 1054 | 812 | 875 | 664 | 517 | 8976 | 469 | 484 | 838 | 800 | 893 | 786 | 784 | 1086 | 622 | 474 | 424 | 437 | 8097 | 357 | 352 | 409 | 411 | 508 | 544 | 549 | 529 | 502 | 457 | 451 | 356 | 5425 | 309 | 529 | 795 | 915 | 862 | 668 | 803 | 923 | 832 | 830 | 477 | 402 | 8345 | 337 | 533 | 740 | 780 | 824 | 647 | 834 | 939 | 806 | 863 | 499 | 432 | 8234 | 432 | 400 | 541 | 901 | 953 | 910 | 627 | 779 | 938 | 777 | 867 | 544 | 8669
|  | Business |  | 919 COLUMBIA AV | [21 empty] | 100 | 401 | 114 | 133 | 748 | 117 | 123 | 137 | 201 | 438 | 475 | 436 | 380 | 396 | 332 | 280 | 172 | 3487 | 119 | 230 | 326 | 544 | 667 | 786 | 910 | 801 | 529 | 678 | 521 | 433 | 6544 | 388 | 88 | 123 | 243 | 490 | 679 | 632 | 956 | 796 | 600 | 442 | 248 | 5685 | 248 | 60 | 5 | 307 | 627 | 702 | 861 | 842 | 813 | 578 | 667 | 515 | 6225
| Administrative | Business | Balch | 1030 COLUMBIA A | 233 | 39.3333 | 64.6667 | 533 | 1781 | 2068 | 2516 | 3445 | 1354 | 368 | 972 | 55 | 13429 | 233 | 59 | 2 | 364 | 1048 | 1416 | 1590 | 1439 | 1473 | 479 | 67 | 73 | 8243 | 63 | 59 | 65 | 67 | 152 | 197 | 993 | 1172 | 1090 | 882 | 869 | 658 | 6267 | 403 | 0 | 127 | 897 | 1088 | 1933 | 1450 | 1895 | 1239 | 1138 | 894 | 383 | 11447 | 187 | 119 | 260 | 1102 | 2244 | 2257 | 2465 | 2621 | 2120 | 1437 | 1003 | 563 | 16378 | 37 | 0 | 0 | 3 | 49 | 133 | 130 | 180 | 173 | 137 | 84 | 47 | 973
|  | Business |  | 1111 COLUMBIA A | 94.6667 | 208.5 | 71.6667 | 37 | 423 | 681 | 535 | 761 | 252 | 81 | 187 | 12 | 3343.8333 | 0 | 208.5 | 1 | 144 | 330 | 594 | 595 | 369 | 279 | 170 | 52 | 97 | 2839.5 | 54 | 195 | 89 | 30 | 48 | 495 | 537 | 10 | 628 | 654 | 584 | 66 | 3390 | 230 | 222 | 125 | 0 | 0 | 827 | 353 | 256 | 246 | 22 | 21 | 28 | 2330 | 88 | 86 | 114 | 130 | 334 | 484 | 467 | 525 | 326 | 131 | 44 | 22 | 2751 | 22 | 42 | 191 | 70 | 13 | 237 | 438 | 323 | 377 | 238 | 234 | 354 | 2539
| Administrative | Business | EmPower Center | 1030 DARTMOUTH | 0 | 0 | 1 | 8 | 83 | 143 | 138 | 183 | 72 | 26 | 35 | 0 | 689 | 0 | 0 | 3 | 24 | 92 | 165 | 135 | 101 | 67 | 16 | 0 | 0 | 603 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 18 | 24 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 34 | 71 | 185 | 121 | 106 | 37 | 28 | 18 | 0 | 600 | 0 | 0 | 0 | 49 | 157 | 171 | 196 | 214 | 149 | 77 | 44 | 37 | 1094 | 563 | 47 | 36 | 535 | 458 | 1633 | 2100 | 2158 | 2224 | 1772 | 1835 | 929 | 14290
| Residential | Business | Kimberley or Tiernan?? | 1031 MILLS AVE | 152.6667 | 162.3333 | 179.3333 | 387 | 653 | 1005 | 853 | 1125 | 508 | 328 | 349 | 108 | 5810.3333 | 80 | 102 | 131 | 244 | 744 | 1117 | 923 | 808 | 689 | 290 | 255 | 269 | 5652 | 234 | 204 | 226 | 300 | 681 | 283 | 0 | 0 | 65 | 204 | 210 | 162 | 2569 | 144 | 181 | 181 | 417 | 611 | 1412 | 1216 | 1307 | 1041 | 900 | 810 | 518 | 8738 | 329 | 236 | 247 | 694 | 1182 | 1273 | 1252 | 1362 | 1029 | 784 | 595 | 416 | 9399 | 416 | 123 | 176 | 395 | 594 | 723 | 1087 | 1134 | 1099 | 898 | 808 | 603 | 8056
| Administrative | Business | Lang/Steele | 250 PLATT BLVD | 326.6667 | 291.6667 | 869.6667 | 215 | 3971 | 5896 | 5217 | 7974 | 6787 | 4643 | 6163 | 298 | 42652 | 98 | 95 | 1458 | 4389 | 6000 | 4447 | 4961 | 6161 | 4809 | 3708 | 2088 | 1590 | 39804 | 658 | 501 | 792 | 1906 | 4335 | 2879 | 3774 | 3591 | 2901 | 2608 | 2205 | 542 | 26692 | 224 | 279 | 359 | 2578 | 2920 | 2268 | 3743 | 3416 | 2863 | 2858 | 2451 | 1466 | 25425 | 487 | 587 | 884 | 2560 | 4211 | 4112 | 4518 | 5221 | 4917 | 3464 | 3084 | 2415 | 36460 | 2415 | 456 | 339 | 2217 | 2630 | 3532 | 3900 | 4725 | 4888 | 4444 | 4263 | 3717 | 37526
| Academic | Business | Lincoln Ceramics | 254 PLATT BLVD | 0 | 24 | 42.3333 | 0 | 147 | 31 | 99 | 0 | 38 | 147 | 90 | 0 | 618.3333 | 0 | 72 | 127 | 6 | 12 | 9 | 214 | 397 | 0 | 0 | 0 | 0 | 837 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 136 | 561 | 48 | 88 | 233 | 273 | 95 | 0 | 0 | 1434 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 41 | 0 | 0 | 79 | 0 | 59 | 0 | 0 | 0 | 45 | 0 | 0 | 98 | 45 | 30 | 1 | 278
|  | Business | It's in front of Toll hall? | 326 PLATT BLVD | 329 | 432.6667 | 644.3333 | 888 | 878 | 747 | 757 | 1064 | 844 | 934 | 665 | 487 | 8670 | 297 | 439 | 884 | 836 | 911 | 796 | 789 | 1113 | 613 | 454 | 420 | 432 | 7984 | 350 | 323 | 230 | 375 | 549 | 585 | 557 | 527 | 503 | 461 | 476 | 383 | 5319 | 340 | 536 | 819 | 972 | 916 | 663 | 810 | 959 | 848 | 839 | 493 | 397 | 8592 | 334 | 538 | 736 | 834 | 867 | 634 | 821 | 941 | 790 | 881 | 510 | 430 | 8316 | 430 | 388 | 561 | 865 | 924 | 865 | 640 | 803 | 938 | 817 | 960 | 195 | 8386
|  | Business | Routt Hall? | 400 PLATT BLVD | 204.6667 | 248.3333 | 392 | 788 | 3327 | 4558 | 1216 | 1435 | 4474 | 677 | 699 | 206 | 18225 | 194 | 239 | 495 | 789 | 2736 | 2003 | 2480 | 2561 | 2272 | 2196 | 323 | 215 | 16503 | 184 | 175 | 211 | 206 | 253 | 251 | 205 | 181 | 242 | 219 | 231 | 251 | 2609 | 236 | 331 | 470 | 1842 | 2463 | 3122 | 2508 | 2811 | 2244 | 3194 | 561 | 298 | 20080 | 294 | 323 | 426 | 934 | 2375 | 2492 | 2653 | 3210 | 2494 | 2563 | 1461 | 229 | 19454 | 1461 | 229 | 280 | 643 | 1880 | 2002 | 2139 | 2197 | 2642 | 2344 | 2291 | 1703 | 19811
|  | Business | Routt Hall? | 404 PLATT BLVD | 82.3333 | 129.3333 | 246 | 345 | 725 | 653 | 703 | 1381 | 608 | 455 | 403 | 133 | 5863.6667 | 49 | 106 | 265 | 268 | 707 | 522 | 636 | 719 | 515 | 113 | 96 | 93 | 4089 | 79 | 84 | 101 | 137 | 231 | 171 | 170 | 163 | 157 | 145 | 150 | 117 | 1705 | 119 | 198 | 372 | 624 | 652 | 492 | 871 | 1033 | 793 | 899 | 416 | 400 | 6869 | 333 | 252 | 1079 | 3619 | 4975 | 3123 | 3333 | 4199 | 2874 | 3737 | 2906 | 2063 | 32493 | 327 | 162 | 196 | 373 | 525 | 564 | 547 | 782 | 955 | 759 | 749 | 437 | 6376
|  | Business |  | 404 PLATT BLVD POOL | 106 | 345.3333 | 1288 | 3479 | 4089 | 1695 | 3415 | 4192 | 4848 | 3487 | 3559 | 1453 | 31956.3333 | 302 | 509 | 2092 | 4134 | 4784 | 3667 | 3173 | 3828 | 4922 | 3060 | 1749 | 14 | 32234 | 8 | 6 | 9 | 14 | 22 | 24 | 30 | 31 | 29 | 22 | 18 | 18 | 231 | 8 | 521 | 1763 | 4857 | 4457 | 927 | 2587 | 5772 | 3837 | 3456 | 2377 | 918 | 31480 | 219 | 320 | 384 | 648 | 999 | 808 | 1115 | 1374 | 960 | 784 | 390 | 327 | 8328 | 2063 | 273 | 177 | 2120 | 3844 | 4032 | 2809 | 3424 | 3407 | 5348 | 4401 | 3338 | 35236
| Residential | Business |  | 406 PLATT BLVD (AKA 406 1/2 PLATT BOILER) | 113.6667 | 148.6667 | 229 | 326 | 351 | 294 | 308 | 686 | 305 | 315 | 237 | 150 | 3463.3333 | 129 | 171 | 302 | 299 | 752 | 755 | 495 | 412 | 237 | 155 | 131 | 138 | 3976 | 104 | 95 | 118 | 136 | 190 | 195 | 193 | 182 | 204 | 160 | 161 | 120 | 1858 | 108 | 180 | 267 | 314 | 311 | 270 | 307 | 352 | 291 | 293 | 185 | 229 | 3107 | 148 | 192 | 290 | 341 | 372 | 273 | 362 | 430 | 352 | 363 | 223 | 172 | 3518 | 172 | 162 | 214 | 324 | 348 | 322 | 371 | 373 | 243 | 310 | 357 | 198 | 3394
|  | Business |  | 925 MILLS AVE | [36 empty] | 5745 | 4381 |  | 4669 | 6180 | 5061 | 6946 | 7240 | 11063 | 8364 | 7835 | 6456 | 6183 | 5766 | 4386 | 80149 | [12 empty] | 0 | 6833 | 4902 | 4393 | 5132 | 5462 | 6187 | 7863 | 9057 | 8834 | 7003 | 6869 | 5765
|  |  |  | TOTALS (therms) | 3427.3333 | 4281.5 | 7254 | 10671 | 23331 | 26303 | 23675 | 32564 | 25899 | 16858 | 18213 | 4883 | 197359.8333 | 3153 | 3872.5 | 9106 | 16545 | 25931 | 21635 | 22857 | 25300 | 21791 | 13952 | 7520 | 5223 | 176885.5 | 3550 | 3337 | 3431 | 5940 | 11535 | 11579 | 12510 | 11055 | 10768 | 9348 | 13714 | 8846 | 95487 | 8228 | 11945 | 14277 | 27149 | 29616 | 30192 | 31604 | 36207 | 27296 | 25650 | 17515 | 11758 | 271437 | 4101 | 4816 | 7778 | 16176 | 26786 | 23827 | 27002 | 31059 | 24668 | 21254 | 13570 | 9350 | 210387 | 17415 | 8130 | 8498 | 17345 | 23251 | 28070 | 29807 | 33794 | 35339 | 31398 | 29809 | 21570 | 206126
Note on E15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ceramics
Note on BF18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Both of these are just labeled as 404 Platt Blvd. Assumed one with higher therms was the building and the pool was the lower therms.
Note on E20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Schow Hall
Note on E21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Keck

## Water
Type | Location | Jul-18 | Aug-18 | Sep-18 | Oct-18 | Nov-18 | Dec-18 | Jan-19 | Feb-19 | Mar-19 | Apr-19 | May-19 | Jun-19 | Total CCF FY19 | Total Gallons FY19 | Jul-19 | Aug-19 | Sep-19 | Oct-19 | Nov-19 | Dec-19 | Jan-20 | Feb-20 | Mar-20 | Apr-20 | May-20 | Jun-20 | Total CCF FY20 | Total Gallons FY20 | Jul-20 | Aug-20 | Sep-20 | Oct-20 | Nov-20 | Dec-20 | Jan-21 | Feb-21 | Mar-21 | Apr-21 | May-21 | Jun-21 | Total CCF FY 21 | Total Gallons FY21 | Jul-21 | Aug-21 | Sep-21 | Oct-21 | Nov-21 | Dec-21 | Jan-22 | Feb-22 | Mar-22 | Apr-22 | May-22 | Jun-22 | Total CCF FY22 | Total Gallons FY22 | Jul-22 | Aug-22 | Sep-22 | Oct-22 | Nov-22 | Dec-22 | Jan-23 | Feb-23 | Mar-23 | Apr-23 | May-23 | Jun-23 | Total CCF FY23 | Total Gallons FY23 | 2023-07-23 | 2023-08-23 | 2023-09-23 | 2023-10-23 | 2023-11-23 | 2023-12-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Total CCF FY23 | Total Gallons FY23
Academic | Vita Nova Hall, 9th & Amherst Ave | 3 | 2 | 3 | 2 | 2 | 2 | 424 | 3 | 3 | 3 | 4 | 2 | 453 | 338844 |  | 2 | 3 | 2 | 3 | 3 | 1 | 3 | 4 | 1 | 0 | 10 | 32 | 23936 | 14 | 0 | 2 | 5 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 24 | 17952 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 8 | 5984 | 1 | 0 | 2 | 3 | 2 | 1 | 1 | 2 | 2 | 3 | 3 | 1 | 21 | 15708 | 3 | 2 | 2 | 2 | 3 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 28 | 20944
Academic | Tiernan FS, 1031 FS 8 Mills Ave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Tiernan FS, 1031 FS 4 Milles Ave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | McAlister LC34005, 919 Columbia Ave | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 20 | N/A | 72 | 92 | 68816 | 60 | 62 | 70 | 57 | 32 | 29 | 21 | 8 | 4 | 19 | 52 | 61 | 475 | 355300 | 77 | 78 | 65 | 44 | 14 | 19 | 8 | 20 | 20 | 200 | 89 | 59 | 693 | 518364 | 65 | 51 | 87 | 63 | 59 | 33 | 4 | 25 | 13 | 5 | 37 | 68 | 510 | 381480 | 69 | 61 | 70 | 42 | 60 | 61 | 45 | 24 | 10 | 23 | 71 | 76 | 612 | 457776
Academic | McAlister FP, 919 Columbia Ave FP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | McAlister | [12 empty] | 0 | 0 | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | 28 | 28 | MISSING | MISSING | MISSING | 56 | 41888 | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | 0 | 0 | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | 0 | 0 | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | [6 empty] | 0 | 0 | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | MISSING | 0 | 0
Academic | Malott Commons, 349 E 9th St | 108 | 178 | 368 | 185 | 415 | 338 | 162 | 315 | 42 | 688 | 519 | 194 | 3512 | 2626976 | 268 | 364 | 452 | 389 | 411 | 319 | 145 | 242 | 295 | 142 | 191 | 249 | 3467 | 2593316 | 289 | 327 | 318 | 276 | 214 | 317 | 227 | 206 | 194 | 95 | 95 | 109 | 2667 | 1994916 | 148 | 222 | missing | 298 | 277 | 283 | 65 | 237 | 281 | 305 | 266 | 220 | 2602 | 1946296 | 326 | 282 | 466 | 434 | 366 | 252 | 61 | 261 | 223 | 265 | 282 | 91 | 3309 | 2475132 | 126 | 196 | 319 | 304 | 331 | 287 | 8 | 267 | 228 | 254 | 296 | 160 | 2776 | 2076448
Academic | Malott Commons FP, 349 E FP 9th St | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 11 | 8228 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Lincoln Ceramic Art Bldg FS, 254 Platt Blvd | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Lang Art Bldg FP, 250 12th St | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MISSING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Lang Art Bld, 250 Platt Blvd | 552 | 623 | 613 | 464 | 508 | 242 | 268 | 127 | 105 | 227 | 410 | 307 | 4446 | 3325608 | 448 | 647 | 611 | 776 | 446 | 189 | 153 | 318 | 342 | 77 | 238 | 314 | 4559 | 3410132 | 576 | 505 | 587 | 468 | 326 | 209 | 356 | 94 | 137 | 242 | 377 | 235 | 4112 | 3075776 | 323 | 397 | 482 | 325 | 334 | 329 | 91 | 182 | 167 | 157 | 225 | 431 | 3443 | 2575364 | 427 | 366 | 645 | 508 | 361 | 235 | MISSING | 71 | 66 | 122 | 280 | 299 | 3380 | 2528240 | 534 | 673 | 317 | 371 | 623 | 242 | 41 | 71 | 66 | 198 | 124 | 365 | 3625 | 2711500
Academic | Humanities, 955 Amherst Ave | 77 | 90 | 142 | 137 | 104 | 80 | 54 | 70 | 73 | 69 | 85 | 130 | 1111 | 831028 | 68 | 120 | 129 | 194 | 111 | 86 | 27 | 57 | 58 | 11 | 8 | 93 | 962 | 719576 | 8 | 31 | 56 | 81 | 69 | 451 | 35 | 7 | 7 | 7 | 10 | 14 | 776 | 580448 | 52 | 29 | 137 | 78 | 43 | 45 | 9 | 33 | 47 | 53 | 60 | 37 | 623 | 466004 | 52 | 46 | 79 | 69 | 48 | 34 | 12 | 35 | 32 | 35 | 52 | 34 | 528 | 394944 | 42 | 62 | 94 | 70 | 69 | 51 | 19 | 47 | 35 | 35 | 54 | 27 | 605 | 452540
Academic | Humanities FP, 955 Fp Amherst St | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Garrison, Dartmouth & 10th FP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 88 | 131 | 103 | 63 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 519 | 388212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Garrison, Darthmouth & 10th ST | 86 | 115 | 126 | 96 | 81 | 46 | 90 | 14 | 20 | 39 | 62 | 46 | 821 | 614108 |  | 36 | 124 | 118 | 79 | 68 | 26 | 17 | 24 | 52 | 4 | 38 | 586 | 438328 | 66 | 60 | 30 | 61 | 46 | 3 | 0 | 1 | 3 | 16 | 23 | 29 | 338 | 252824 | 35 | 66 | 75 | 54 | 33 | 23 | 5 | 18 | 32 | 70 | 63 | 64 | 538 | 402424 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 28 | 28 | 46 | 60 | 40 | 213 | 159324 | 44 | 91 | 104 | 68 | 66 | 37 | 17 | 18 | 26 | 33 | 63 | 42 | 609 | 455532
Academic | PAC, 1020 N Dartmouth Ave | 206 | 187 | 181 | 90 | 96 | 36 | 57 | 0 | 0 | 107 | 151 | 72 | 1183 | 884884 | 121 | 184 | 157 | 108 | 66 | 119 | 26 | 64 | 41 | 34 | 71 | 114 | 1105 | 826540 | 102 | 103 | 116 | 143 | 178 | 132 | 112 | 53 | 95 | 29 | 204 | 175 | 1442 | 1078616 | 222 | 131 | 169 | 104 | 115 | 134 | 29 | 135 | 111 | 92 | 88 | 187 | 1517 | 1134716 | 186 | 175 | 302 | 378 | 68 | 25 | 11 | 0 | 15 | 4 | 39 | 36 | 1239 | 926772 | 35 | 33 | 32 | 32 | 34 | 31 | 1 | 0 | 0 | 1 | 0 | 29 | 228 | 170544
Academic | Empower Center, 1030 N Dartmouth | 3 | 4 | 4 | 7 | 7 | 6 | 6 | 6 | 1 | 2 | 7 | 6 | 59 | 44132 | 7 | 6 | 7 | 6 | 12 | 6 | 5 | 7 | 6 | 4 | 6 | 4 | 76 | 56848 | 4 | 3 | 0 | 0 | 11 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 20 | 14960 | 0 | 1 | 1 | 1 | 4 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 10 | 7480 | 2 | 0 | 1 | 6 | 7 | 1 | 0 | 1 | 0 | 2 | 1 | 0 | 21 | 15708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | E Campus Service Building | 240 | 615 | 483 | 225 | 289 | 286 | 210 | 243 | 259 | 253 | 98 | 49 | 3250 | 2431000 |  | 52 | 75 | 123 | 132 | 167 | 82 | 33 | 76 | 83 | 16 | 1 | 840 | 628320 | 14 | 52 | 24 | 4 | 34 | 10 | 52 | 2 | 0 | 1 | 0 | 1 | 194 | 145112 | 15 | 54 | 158 | 164 | 130 | 146 | 73 | 112 | 193 | 372 | 350 | 285 | 2052 | 1534896 | 354 | 273 | 415 | 453 | 551 | 322 | 364 | 450 | 432 | 479 | 383 | 34 | 4510 | 3373480 | 46 | 79 | 151 | 122 | 99 | 99 | 24 | 765 | 451 | 516 | 528 | 596 | 3476 | 2600048
Academic | Denison Library, 1080 Columbia Ave | 7 | 5 | 13 | 6 | 5 | 5 | 4 | 3 | 5 | 4 | 6 | 3 | 66 | 49368 | 2 | 2 | 2 | 5 | 7 | 4 | 4 | 5 | 5 | 1 | 0 | 1 | 38 | 28424 | 1 | 24 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 2 | 34 | 25432 | 1 | 1 | 2 | 4 | 3 | 3 | 2 | 2 | 2 | 3 | 3 | 4 | 30 | 22440 | 3 | 3 | 3 | 11 | 5 | 5 | 2 | 5 | 9 | 4 | 7 | 2 | 59 | 44132 | 2 | 2 | 4 | 7 | 6 | 7 | 1 | 3 | 2 | 2 | 3 | 1 | 40 | 29920
Academic | Baxter, 251 E 11th St | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 22 | 16456 | 1 | 2 | 3 | 2 | 4 | 2 | 1 | 3 | 2 | 1 | 0 | 0 | 21 | 15708 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 2 | 5 | 11 | 8228 | 0 | 0 | 2 | 2 | 2 | 2 | 0 | 1 | 2 | 4 | 8 | 2 | 25 | 18700 | 1 | 0 | 2 | 2 | 2 | 2 | 1 | 2 | 3 | 2 | 2 | 1 | 20 | 14960 | 1 | 1 | 2 | 2 | 2 | 2 | 0 | 17 | 11 | 13 | 5 | 1 | 57 | 42636
Academic | Balch Hall, 1030 FP | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 3 | 2244 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Academic | Balch Hall, 1030 Dom Columbia | 83 | 121 | 110 | 73 | 59 | 32 | 18 | 19 | 31 | 34 | 46 | 47 | 673 | 503404 | 43 | 99 | 97 | 62 | 65 | 28 | 17 | 25 | 32 | 21 | 24 | 47 | 560 | 418880 | 57 | 54 | 48 | 46 | 33 | 10 | 29 | 4 | 11 | 15 | 14 | 24 | 345 | 258060 | 58 | 56 | 90 | 68 | 45 | 52 | 75 | 251 | 293 | 58 | 37 | 43 | 1126 | 842248 | 70 | 70 | 105 | 77 | 45 | 77 | 10 | 23 | 24 | 26 | 39 | 28 | 594 | 444312 | 44 | 72 | 84 | 52 | 40 | 26 | 173 | 21 | 33 | 30 | 42 | 38 | 655 | 489940
Grounds | South IRR Amherst Ave | 1531 | 932 | 1530 | 1046 | 1038 | 515 | 424 | 365 | 1 | 641 | 1008 | 665 | 9696 | 7252608 | 1352 | 1618 | 1903 | 1772 | 1575 | 157 | 187 | 431 | 382 | 85 | 522 | 778 | 10762 | 8049976 | 1077 | 1136 | 1503 | 1675 | 608 | 568 | 439 | 342 | 450 | 420 | 382 | 556 | 9156 | 6848688 | 748 | 767 | 1181 | 534 | 465 | 825 | 112 | 412 | 428 | 609 | 718 | 442 | 7241 | 5416268 | 470 | 468 | 856 | 654 | 311 | 234 | 103 | 50 | 189 | 45 | 264 | 272 | 3916 | 2929168 | 620 | 808 | 799 | 664 | 664 | 573 | 86 | 111 | 43 | 319 | 379 | 768 | 5834 | 4363832
Grounds | Middle IRR Amherst Ave | 1751 | 2132 | 1897 | 1402 | 845 | 360 | 467 | 181 | 0 | 411 | 996 | 633 | 11075 | 8284100 | 1756 | 2172 | 2002 | 1154 | 1573 | 254 | 371 | 748 | 375 | 256 | 892 | 1384 | 12937 | 9676876 | 1982 | 2602 | 2175 | 1949 | 797 | 738 | 682 | 323 | 513 | 794 | 1129 | 1129 | 14813 | 11080124 | 1431 | 1118 | 1395 | 1021 | 819 | 1147 | 35 | 1065 | 719 | 1174 | 948 | 1266 | 12138 | 9079224 | 1543 | 1476 | 2711 | 3047 | 1100 | 467 | 143 | 109 | 265 | 59 | 343 | 582 | 11845 | 8860060 | 1393 | 1817 | 1305 | 1100 | 692 | 671 | 372 | 89 | 20 | 233 | 549 | 836 | 9077 | 6789596
Grounds | Amherst Ave SO Platt Blvd | 337 | 303 | 890 | 765 | 598 | 335 | 279 | 18 | 15 | 249 | 633 | 352 | 4774 | 3570952 | 919 | 1373 | 749 | 601 | 677 | 127 | 230 | 406 | 275 | 142 | 696 | 1069 | 7264 | 5433472 | 1156 | 1097 | 796 | 758 | 577 | 608 | 542 | 240 | 227 | 606 | 959 | 860 | 8426 | 6302648 | 617 | 492 | 630 | 584 | 887 | 771 | 89 | 372 | 345 | 553 | 381 | 429 | 6150 | 4600200 | 1088 | 847 | 774 | 927 | 587 | 645 | 158 | 27 | 267 | 71 | 382 | 812 | 6585 | 4925580 | 868 | 867 | 645 | 545 | 421 | 778 | 74 | 4 | 8 | 204 | 407 | 849 | 5670 | 4241160
Grounds | 406 Platt Blvd | 157 | 363 | 752 | 522 | 448 | 96 | 43 | 8 | 33 | 120 | 330 | 174 | 3046 | 2278408 | 303 | 300 | 510 | 303 | 216 | 75 | 96 | 90 | 92 | 109 | 166 | 164 | 2424 | 1813152 | 207 | 231 | 598 | 458 | 40 | 83 | 0 | 576 | 163 | 290 | 341 | 396 | 3383 | 2530484 | 389 | 122 | 118 | 218 | 173 | 173 | 1 | 1 | 40 | 239 | 290 | 247 | 2011 | 1504228 | 192 | 145 | 212 | 188 | 106 | 53 | 95 | 17 | 48 | 15 | 94 | 138 | 1303 | 974644 | 129 | 165 | 131 | 110 | 129 | 91 | 112 | 30 | 26 | 85 | 86 | 150 | 1244 | 930512
Keck | 925 North Mills Ave (Fire Protection) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Keck | 925 North Mills Ave (Domestic) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 197.5455 | 354 | 422 | 403 | 251 | 88 | 44 | 73 | 67 | 111 | 151 | 209 | 2370.5455 | 1773168 | 746 | 632 | 832 | 463 | 257 | 250 | 104 | 368 | 347 | 426 | 232 | 464 | 5121 | 3830508 | 557 | 468 | 637 | 509 | 344 | 261 | 175 | 186 | 113 | 137 | 170 | 233 | 3790 | 2834920 | 267 | 404 | 460 | 303 | 258 | 138 | 71 | 131 | 114 | 126 | 251 | 232 | 2755 | 2060740
Keck | 925 North Mills Ave | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Schow Hall, 406 Platt Blvd DOM | 8 | 6 | 63 | 93 | 108 | 87 | 27 | 128 | 175 | 92 | 107 | 28 | 922 | 689656 | 4 | 20 | 113 | 105 | 116 | 327 | 130 | 101 | 104 | 18 | 3 | 4 | 1045 | 781660 | 5 | 8 | 9 | 0 | 0 | 317 | 70 | 6 | 89 | 286 | 3 | 7 | 800 | 598400 | 4 | 8 | 9 | 213 | 5 | 210 | 15 | 84 | 89 | 94 | 129 | 9 | 869 | 650012 | 68 | 12 | 84 | 123 | 124 | 100 | 24 | 106 | 111 | 109 | 120 | 45 | 1026 | 767448 | 129 | 165 | 131 | 110 | 129 | 91 | 112 | 30 | 26 | 85 | 150 | 86 | 1244 | 930512
Residential | Schow Hall FP, 406 Platt Blvd FP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 35 | 96 | 112 | 113 | 85 | 13 | 107 | 83 | 92 | 106 | 8 | 867 | 648516
Residential | Routt and Frankel FP, 400-402 E 12th & Amherst FP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Routt & Frankel Halls, 12th & Amherst St | 116 | 245 | 252 | 285 | 305 | 215 | 68 | 207 | 216 | 194 | 267 | 67 | 2437 | 1822876 | 69 | 98 | 239 | 255 | 272 | 206 | 61 | 197 | 216 | 41 | 87 | 51 | 1792 | 1340416 | 56 | 68 | 72 | 58 | 3 | 1 | 2 | 243 | 0 | 4 | 1 | 13 | 521 | 389708 | 64 | 109 | 260 | 250 | 248 | 215 | 34 | 249 | 223 | 329 | 1 | 892 | 2874 | 2149752 | 366 | 315 | 284 | 277 | 233 | 308 | 62 | 178 | 163 | 184 | 202 | MISSING | 2572 | 1923856 | 281 | 79 | 203 | 200 | 213 | 144 | 14 | 171 | 143 | 158 | 174 | 38 | 1818 | 1359864
Residential | Revelle House, 950 Amherst Ave | 27 | 43 | 33 | 26 | 28 | 27 | 10 | 20 | 33 | 24 | 30 | 21 | 322 | 240856 | 30 | 20 | 18 | 32 | 34 | 23 | 13 | 25 | 26 | 9 | 14 | 11 | 255 | 190740 | 11 | 12 | 12 | 17 | 24 | 10 | 10 | 11 | 10 | 13 | 11 | 10 | 151 | 112948 | 18 | 6 | 22 | 30 | 22 | 119 | 4 | 54 | 24 | 19 | 19 | 2 | 339 | 253572 | 2 | 8 | 44 | 24 | 25 | 23 | 10 | 37 | 47 | 25 | 24 | 9 | 278 | 207944 | 22 | 43 | 20 | 23 | 24 | 27 | 4 | 35 | 25 | 23 | 30 | 3 | 279 | 208692
Residential | Kimberly & Wilber, 1031 S Mills Ave | 154 | 138 | 169 | 129 | 100 | 81 | 50 | 84 | 102 | 93 | 114 | 102 | 1316 | 984368 | 97 | 175 | 313 | 232 | 266 | 202 | 182 | 169 | 202 | 90 | 76 | 59 | 2063 | 1543124 | 64 | 62 | 97 | 74 | 59 | 46 | 38 | 32 | 34 | 82 | 78 | 75 | 741 | 554268 | 139 | 174 | 270 | 303 | 285 | 278 | 161 | 292 | 333 | 314 | 305 | 202 | 3056 | 2285888 | 228 | 180 | 287 | 274 | 220 | 200 | 52 | 154 | 161 | 160 | 182 | 87 | 2185 | 1634380 | 72 | 82 | 170 | 176 | 146 | 109 | 29 | 91 | 82 | 81 | 89 | 25 | 1152 | 861696
Residential | Jungles- Winkler FP, 404 FP E 12th Ave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Dorsey Hall, 1111 Amherst Ave | 85 | 71 | 240 | 244 | 231 | 165 | 72 | 136 | 155 | 125 | 195 | 59 | 1778 | 1329944 | 143 | 88 | 185 | 215 | 219 | 173 | 76 | 194 | 178 | 26 | 19 | 40 | 1556 | 1163888 | 61 | 194 | 450 | 78 | 74 | 19 | 165 | 74 | 75 | 111 | 57 | 62 | 1420 | 1062160 | 45 | 57 | 450 | 412 | 228 | 193 | 66 | 182 | 176 | 180 | 186 | 26 | 2201 | 1646348 | 44 | 127 | 127 | 153 | 152 | 214 | 51 | 182 | 172 | 176 | 168 | 27 | 1593 | 1191564 | 71 | 42 | 131 | 0 | 235 | 641 | 51 | 214 | 161 | 195 | 204 | 50 | 1995 | 1492260
Residential | Dorsey FP, FP Amherst Ave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Browing & Dorsey Hall, 1180 Columbia Ave | 90 | 81 | 233 | 277 | 292 | 244 | 114 | 256 | 294 | 237 | 271 | 136 | 2525 | 1888700 | 57 | 56 | 211 | 262 | 262 | 221 | 90 | 231 | 256 | 51 | 31 | 31 | 1759 | 1315732 | 29 | 32 | 27 | 102 | 30 | 45 | 41 | 30 | 27 | 32 | 27 | 29 | 451 | 337348 | 19 | 29 | 213 | 294 | 282 | 236 | 47 | 293 | 166 | 240 | 248 | 39 | 2106 | 1575288 | 25 | 33 | 196 | 258 | 248 | 213 | 41 | 210 | 116 | 288 | 211 | 28 | 1867 | 1396516 | 22 | 37 | 210 | 243 | 261 | 205 | 33 | 247 | 202 | 276 | 174 | 21 | 1931 | 1444388
Residential | Browing & Dorsey FP, 1111-51 FP Amherst Ave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | Total | 40012016 | [12 empty] | Total | 40588724 | [12 empty] | Total | 39399812 | [12 empty] | Total | 42468448 | [12 empty] | Total | 38808484 | 4837 | 5816 | 5480 | 4658 | 4618 | 4398 | 1301 | 2496 | 1798 | 2985 | 3786 | 4404 | Total | 34839596
Note on I2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This number is extremely high compared to the trend??
Note on BB5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: double usual usage?
Note on B9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: FP means fire protectant (sprinklers, etc)
Note on AJ13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Unusually high?
Note on AY27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: outlier
Note on AZ27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: outlier
Note on AJ31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Outlier
Note on AN31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Outlier
Note on AL34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: High
Note on B36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2 Meters